# Health & Safety Policy

September 2026

| Document Type | Statutory Policy published online and available to all staff |
| --- | --- |
| Revision date | September 2026 |
| Next Revision Date | September 2027 |
| Owner | Trust Estates Director |
| Author | Trust Estates Director |
| Version | 2.1 |
| Status | Draft for approval by Audit, Finance and Risk Committee / Trust Board |

Contents

| Statement of Intent | 1 | Risk Assessment | 21 |
| --- | --- | --- | --- |
| Mowbray Education Trust Organisation – Roles & Responsibilities | 3 | Smoking | 22 |
| Mowbray Education Trust Health & Safety Organisational Chart | 4 | Statutory Inspections | 22 |
| Heads of Departments | 8 | Preventing Workplace Harassment and Violence | 22 |
| Premises Officer (Estates Team) | 9 | Physical Intervention | 22 |
| 3.0 Mowbray Education Trust Arrangements for Health & Safety | 11 | Vehicles on Site | 22 |
| 3.1 Setting Health and Safety Objectives | 11 | Tree Safety | 23 |
| 3.2 Provision of Effective Health and Safety Training | 11 | Powered and Automatic Gates and Doors | 23 |
| 3.3 Provision of an Effective Joint Consultative Process | 11 | Water Hygiene Management | 23 |
| 3.4 Establishing Adequate Health and Safety Communication Channels | 11 | Working at Height | 23 |
| 4.0 Local Arrangements for Health and Safety | 13 | Workplace Environment and Welfare | 24 |
| Accidents, Incidents, Assaults | 13 | Workplace Inspections | 24 |
| Contractor Management | 13 | Health and Safety Provision for Pregnant Employees | 24 |
| Control of Hazardous Substances | 14 | Lone Workers and Peripatetic Workers | 25 |
| Local Exhaust Ventilation (LEV) | 14 | Dangerous and Flammable Substances (DSEAR) | 25 |
| Health and Safety Emergencies | 14 | Pressure Systems | 26 |
| Defect Reporting | 14 | Radiation – Ionising and Non-Ionising | 26 |
| Display Screen Equipment | 15 | Radon | 27 |
| Driving | 15 | Workplace Equipment (PUWER) | 27 |
| Electrical Systems & Equipment | 15 | Confined Spaces | 28 |
| Fire Safety | 16 | Personal Protective Equipment (PPE) | 28 |
| Gas Safety | 16 | Work Placements, and Work-Based Learning | 29 |
| First Aid & Supporting Medical Conditions | 16 | Occupational Disease – Blood-Borne Viruses and Zoonoses | 29 |
| Infection Prevention and Control | 17 | Safety Signs and Signals | 30 |
| Glass & Glazing | 17 | Slips, Trips and Falls | 30 |
| Grounds Safety & Security | 17 | Catering and Vending | 30 |
| Security and Emergency Incident Response | 17 | Visitors | 30 |
| Adverse Weather | 18 | Lettings | 31 |
| High Risk Areas | 18 | Monitoring and review | 31 |
| Housekeeping, Storage, Cleaning & Waste Disposal | 18 | Active monitoring systems | 31 |
| Waste Control & Disposal | 18 | Reactive monitoring systems | 31 |
| Management of Asbestos | 18 | Reporting and response systems | 31 |
| Lifting Equipment and Lifting Operations (LOLER) | 19 | Investigation systems | 32 |
| Moving & Handling | 19 | Third Party Monitoring/ Inspection | 32 |
| Noise & Vibration | 20 | Business Continuity | 32 |
| Occupational Health Services & Work-Related Stress | 20 | Appendix 1: Key Legislation and Guidance | 33 |
| Off Site Visits Including School Led Adventure Activities | 21 | Appendix 2: Linked Trust Policies and Arrangements | 33 |
| Playground, PE and Sports Equipment | 21 | Appendix 3: Minimum Local Health and Safety Arrangements Checklist | 33 |

# 1.0  Statement of Intent

# As a responsible employer, Mowbray Education Trust (The Trust) will honour its legal obligations, in particular the requirements of the Health and Safety at Work Act 1974 and associated regulations and codes of practice.

# The Trust recognises and accepts its responsibilities and duties as the employer to conduct its operations in a manner which protects the health, safety and welfare of employees, pupils, visitors and any persons affected by its activities so far as is reasonably practicable.

# In compliance with the Management of Health and Safety at Work Regulations 1999 risk assessments will be undertaken, and arrangements will be made, where significant risks are identified, the necessary preventative and protective measures will be put into place so far as is reasonably practicable using a sensible risk management approach.

# The Trust is committed to the prevention of accidents and ill health and will work towards continual health and safety improvement. To achieve these objectives, the Trust will :

# Conduct all activities safely and in compliance with legislation and where possible, best practice.

# Ensure the provision of safe working conditions and safe equipment.

# Ensure a systematic approach to identify risks is developed and implemented and ensure sufficient resources are allocated to control them.

# Ensure the provision of suitable information, instruction, training and supervision.

# Promote a positive health and safety culture that is demonstrated by open communication and a shared commitment to the importance of health, safety and welfare.

# Promote the principles of sensible risk management.

# Monitor, review and modify this policy and any arrangements as required.

# All Trust employees have a responsibility to take reasonable care of themselves and others and to co-operate with their employer to ensure statutory duties and obligations are fulfilled.

# Signed:

# Chair of the Trust Board…………………………………. Date: ………………

# Signed:

# Chief Executive Officer………………………………........Date: ………………

Approval and Communication

| Stage | Responsible role/body | Date |
| --- | --- | --- |
| Approved by | Chief Executive Officer |  |
| Ratified by | Audit, Finance and Risk Committee / Trust Board |  |
| Communicated to | Head Teachers and Senior Leadership Teams |  |
| Published to | All staff |  |

# 2.0  Mowbray Education Trust Organisation – Roles & Responsibilities

Background & Context

# The Trust is a charitable organisation operating under Articles of Association and Memorandum of Association signed by the Members.

Structure & Organisational Responsibilities

# The Members have appointed Trustees who are to ensure that the charitable objectives of the Trust are carried out. The Board of Trustees is the corporate body accountable for the overall health and safety performance of all the Schools within the Trust.

# The Board has appointed the Chief Executive Officer (CEO) who has been delegated responsibility for the executive management and the performance of the Trust and all Schools. The Board will determine overarching Health & Safety objectives for the organisation that are aligned to the vision and aims of the Trust.

# The Responsibilities are delegated by the Board in line with the Articles of Association and are outlined in the Trust’s Scheme of Delegation and Terms of Reference.

# The CEO leads the Trust Executive Leadership Team (ELT) and will delegate executive management functions to the members of the ELT. The CEO retains accountability to the Trust Board for the performance of the ELT.

# The Board delegates day-to-day operational management of health and safety within each school to the Head Teacher, in accordance with the Trust Scheme of Delegation. This delegation does not remove the Trust Board’s overall accountability as employer.

# Where Operations Managers report to the Trust Executive Team rather than the Head Teacher, they will discharge the health and safety responsibilities assigned to their role and work jointly with the Head Teacher. The Head Teacher retains responsibility for local implementation within the school.

# Mowbray Education Trust Health & Safety Organisational Chart

Executive Leadership Team

Trust Board

Estates Director

Estates Director

EstatesTeam

EstatesTeam

HR / Operations

School Head Teacher / Senior Leadership Team

School Department/Faculty Leads

Staff

Chief Executive Officer (Executive Lead Team)

# The Trust Board has appointed the Chief Executive Officer (CEO) who has been delegated responsibility for the executive management and the performance of the Trust and all member Academies for health and safety. The CEO is responsible for:

# Providing annual health and safety reports to the Trust Board for review.

# Ensuring adequate resources are provided for health and safety.

# Setting clear health and safety values and standards throughout the Trust.

# Establishing clear and measurable health and safety aims and objectives.

# Ensuring the provision of competent health and safety advice.

# Ensuring any health and safety shortcomings are identified and rectified in a timely manner.

# Consult with staff, union representatives, safety committees and stakeholders on health and safety matters.

# Ensure the health and safety policy and arrangements are reviewed and implemented throughout the Trust.

# Ensure that all plant and work equipment provided is selected through a risk assessment process, suitable, properly maintained and subject to all necessary tests and examinations.

# Ensure that risk assessments are undertaken by competent persons and that adequate control measures are implemented to reduce risks so far as is reasonably practicable.

# Ensure that accidents and incidents (including near misses and violence and aggression) are properly reported and investigated, and the findings acted upon without delay.

# The CEO may delegate specific responsibilities to other members of the Trust Central Team and Head Teachers and staff; however, the CEO will still be accountable for ensuring the responsibilities are fulfilled.

Chief Financial Officer

# Establish an annual budget for health and safety for all academies within the Trust.

# Report any shortcomings in the health and safety budget to the Trust Board.

# To produce annual health and safety budget forecast reports and communicate them to the Trust board and CEO.

Trust Board

# The Trust Board, as the employer, retains overall accountability for health and safety across the Trust and will hold the Chief Executive Officer to account for effective implementation of this policy. The Chief Executive Officer will hold Head Teachers and members of the Executive Leadership Team to account for the responsibilities delegated to them through the Trust Scheme of Delegation and this policy.

# The Trust Board is responsible for:

# Establishing clear lines of local accountability for health and safety Periodically assessing the effectiveness of its implementation of the Trust policy and ensuring that the need for any necessary changes are communicated to the Board and Executive Leadership Team

# Ensuring that responsible staff have access to competent health and safety advice

# Ensuring the provision of a business continuity plan and SEMT (Senior Emergency Management Team) for each school within Trust

# Ensuring the Schools allocate sufficient funds for health and safety

Trust Estates Director

# The Trust Estates Director is delegated the responsibility of overseeing premises management and as it relates to the buildings and other assets ensuring health and safety compliance across Mowbray Education Trust. The Trust Estates Director is responsible for;

# Establishing a system for the maintenance of the Trust assets both building and plant including premises compliance checks across the Trust.

# Devising, reviewing and communicating the Trust contractor management policy.

# Implementing the contractor management policy and ensuring systems are in place for implementing the policy.

# Facilitate health and safety audits.

# Implement an internal health and safety auditing program to ensure premises compliance.

# Implement an external health and safety audit program to ensure premises compliance.

# Undertake regular premises inspections within all schools within the Trust and provide the reports to the CEO.

# Carry out and review relevant risk assessments within the premises department.

# Implement a system for retaining premises compliance documentation to ensure it is readily accessible.

# Establish a contractor procurement system that ensures contractors are competent to carry out their duties and carry out and record contractor inductions.

# Conducting, reviewing, implementing and communicating risk assessments in relation to the activities of the staff under their control.

# Ensuring statutory surveys, risk assessments and reports are organised with competent contractors and completed.

# Ensure certification and statutory inspections are kept up to date

# Maintain a Trust-wide statutory compliance register showing inspection, servicing, certification, remedial action and renewal dates, with overdue or critical actions escalated to the CEO and relevant Head Teacher.

# Escalate any significant premises compliance failure or condition presenting an immediate or serious risk, and ensure interim controls are implemented until permanent remedial action is complete.

# Provide a termly health and safety performance report to the Trust Board / CEO.

# Ensure all premises-related accidents, incidents and near misses are investigated as appropriate and reported to the CEO.

# Undertake termly premises compliance inspections across all schools and provide findings to the CEO.

# Ensure RIDDOR related accidents, incidents and near misses are investigated and reported to the CEO.

MET HR Manager

# Have a strategic overview of the health and safety management system within the Trust.

# Ensure health and safety responsibilities are included in job descriptions.

# Assist where necessary in facilitating clear lines of communication between management and employees across the Trust.

# Cooperate and communicate with the CEO to ensure the MAT health and safety policy aligns with HR policies.

# Make recommendations in relation to Occupational Health referrals to the CEO/Head Teacher

School Business / Operations Manager (where locally appointed)

# Ensure the day-to-day operational requirements of this health and safety policy are implemented within the school.

# Maintain access to the current policy and associated local health and safety documentation.

# Notify the Premises Team and Head Teacher of health and safety concerns and any financial implications identified through risk assessment or inspection.

# Support the Head Teacher in ensuring certification and statutory inspections remain current.

# Support the investigation and recording of accidents, dangerous occurrences and near misses.

# Ensure suitable resources are identified for statutory inspections, risk assessments, property and equipment maintenance, and staff health and safety training.

# Maintain a local health and safety training plan and matrix to identify role-specific and refresher training needs.

Head Teacher

# The Head Teacher has been delegated the responsibility of the management of safety and implementation of this policy within their designated school. The Head Teacher will implement an occupational health and safety management system to comply with The Management of Health and Safety at Work Regulations 1999. To help achieve this the Head Teacher will;

# Ensure compliance with the Trust health and safety policy.

# Make clear any duties in respect of health and safety, which are delegated, to members of staff.

# Make themselves familiar with any documentation and/or instruction referring to the health and safety arrangements for staff, building maintenance or operation of the Trust and maintain an up-to-date system of policies, procedures and risk assessments.

# Co-operate and communicate with trade unions and employee health and safety representatives and ensure that all employees are aware of and accountable for their specific health and safety responsibilities and duties.

# In the event of any hazard or risk to health and safety of any persons under their control, take appropriate action to control the hazard/risk.

# Ensure the health and safety policy, procedures and risk management programme are implemented as an integral part of business operational planning and service delivery.

# Co-operate and communicate with the Trust Board/ELT/SLT/CEO

# Undertake termly monitoring and ensure the provision of adequate resources to achieve compliance.

# Ensure local procedures for the selection and monitoring of contractors are in place.

# Take appropriate action under the Trust disciplinary procedures against anyone under their control found not complying with health and safety policies and/or procedures.

# Ensure the Trust has access to competent health and safety advice.

# Ensure there is a clear system for reporting accidents and incidents.

# Facilitate health and safety audits.

# Ensure the school has a Management of Medications Policy.

# Ensure the school has an Off-Sites Visits Policy.

# Ensure resources are allocated to enable statutory inspections, risk assessments, property maintenance and equipment maintenance to take place at the correct intervals and when necessary.

# Ensure there is a system in place for contractor procurement that identifies contractor competency.

# Ensure the provision of resources for staff health and safety training.

# In addition to their statutory duties, the Head Teacher and teachers have a common law duty of care for pupils which stems from their position in law “in loco parentis”.

# Head Teachers may delegate various health and safety responsibilities through their respective hierarchies. However, where responsibility is delegated, sufficient resources and authority should be allocated to ensure that these responsibilities can be effectively and efficiently implemented.

# Provide a termly health and safety performance report to the CEO / Trust Board, including significant risks, incidents, compliance issues and overdue actions.

Senior Leadership Teams

# Familiarise themselves and ensure compliance with this policy.

# Monitor the effectiveness of this policy, identify any shortcomings within the policy and communicate them to the Head Teacher.

# Provide a documented process for reporting and investigating all incidents, accidents and near misses.

# Provide termly health and safety performance information to the Head Teacher, including significant departmental risks, incidents and overdue actions.

# Heads of Departments

# Heads of departments will undertake general responsibilities to ensure all necessary health and safety activities, requirements and standards are undertaken and Trust within their respective areas of control. This will be done under the direction of the Head Teacher. Any member of staff with departmental management responsibilities will:

# Familiarise themselves with and ensure their department complies with this policy, including any procedures, instructions and requirements for safe methods of work.

# Science and Design Technology Heads of Department will ensure a departmental health and safety policy is devised and communicated to all staff concerned.

# Identify new and existing hazards, provide risk assessments, record the significant findings, implement any necessary control measures and review these to ensure that they remain relevant.

# Check and document that the working environment is safe; equipment, products and materials are used safely; that health and safety procedures are effective and complied with and that any necessary remedial action is taken in a timely manner.

# Provide information, instruction, training and supervision for the department staff they are responsible for.

# Complete a health and safety induction checklist for all new employees at the commencement of their employment.

# Report all accidents, incidents and near miss events, undertake an investigation into the cause and take appropriate remedial action to prevent recurrence.

# Ensure that all statutory registers and records are retained and maintained.

# Report property defects within their department to the Premises Team.

# Ensure the provision of adequate PPE free of charge for staff and pupils with their departments.

# Facilitate health and safety audits

# Science, Design and Technology and PE Heads of Department will ensure required servicing, maintenance and statutory inspections of machines and equipment within their departments are completed and records retained. Provide termly health and safety performance information to the Senior Leadership Team / Head Teacher.

# Premises Officer ( Estates Team)

# Ensure the day-to-day operational requirements of the health and safety policy are implemented.

# Notify the Trust Estates Director and / or Head Teacher of any health and safety concerns and any financial implications identified by the risk assessment process.

# Liaise with and report directly to the Trust Estates Director, and / or Head Teacher on matters of health and safety.

# Report and investigate accidents, dangerous occurrences and near misses, complete accident reports.

# Facilitate health and safety audits.

# Have a general responsibility for the application of the school’s health and safety policy to the area of work.

# Carry out regular health and safety assessments of the activities for which they are responsible, and report to the Trust Estates Director/SLT/Head Teacher any defects, which need attention. Monitor their effective implementation by staff under their control.

# Where appropriate, ensure relevant advice and guidance on health and safety matters is sought.

# Advise the Head Teacher and/or Trust Estates Director on requirements for health and safety equipment and on additions or necessary improvement to plant, tools, equipment or machinery.

# Carry out compliance checks in accordance with job description.

# Establish and maintain safe working procedures including (referring to relevant legislation and guidance) arrangements for ensuring so far as is reasonably practicable, the absence of risks to health and safety in connection with the use, handling, storage and transport of articles and substances (e.g., chemicals, boiling water and sharp instruments).

# Maintain compliance and health and safety related documentation ensuring this documentation is backed up digitally.

# Ensure statutory surveys, risk assessments and reports are organised with competent contractors and completed.

# Conduct contractor induction and record the process.

# Undertake training identified by the Trust Estates Director/Head Teacher to enable them to perform their duties at the level of responsibility allocated to them.

Catering / Kitchen Manager

# Take responsibility for day-to-day health, safety and wellbeing within the school kitchen and for the activities of kitchen staff.

# Maintain appropriate security controls for the kitchen as a higher-risk work area.

# Ensure suitable risk assessments are in place for catering and kitchen activities and monitor implementation.

# Communicate relevant health and safety information to catering staff and report accidents, dangerous occurrences and near misses through the Trust reporting process.

# Maintain and communicate food safety arrangements and ensure suitable PPE and role-specific training are provided.

All Staff

# All employees, agency, peripatetic workers and contractors must comply with the Trust's health and safety policy and associated arrangements, in addition to any specific responsibilities which may be delegated to them. All staff are required to:

# Take reasonable care for their own health and safety at work and of those who may be affected by their acts or omissions.

# Cooperate with their line manager and senior management to work safely.

# Comply with health and safety instructions and information and undertake appropriate health and safety training as required.

# Not intentionally or recklessly interfere with or misuse anything provided in the interests of health, safety and welfare.

# Report to their manager any health and safety concerns, hazardous conditions or defects in the health and safety arrangements and/or workplace.

# Support the Trust in embedding a positive safety culture that extends to pupils and visitors to the site.

# Undertake any training identified by the Trust Estates Director /Head Teacher to enable them to perform their duties at the level of responsibility allocated to them.

# Co-operate with the employer in the discharge of its statutory health and safety obligations.

Pupils

# Pupils are expected to behave in a manner that reflects the Trust Education behaviour policy and in particular are expected to;

# Take reasonable care for their own health and safety and of their peers, teachers, support staff and any other person that may be at the Trust.

# Cooperate with teaching and support staff and follow all health and safety instructions given.

# Not intentionally or recklessly interfere with or misuse anything provided in the interests of health, safety and welfare

# Report to a teacher or other member of the Trust staff any health and safety concerns that they may have.

Shared Site Users

# Where two or more employers share a workplace, each employer shall co- operate with the other employers concerned to enable them to comply with their duties under health and safety legislation. The Trust as the primary site user will have the lead responsibility.

# All users of the shared site must agree to:

# Cooperate and coordinate on health and safety matters

# Provide information relating to any additional risks or procedures which will be new or unusual to those sharing the site that may arise from their activities.

# Co-operate and co-ordinate on fire and emergency arrangements.

# Meet the insurance requirements set by MET or its insurer where applicable.

# Familiarise themselves with MET health, safety and fire arrangements and communicate these to their employees or users.

# MET will ensure that shared-site premises are suitable for the intended use, emergency evacuation arrangements are communicated, shared users are consulted on relevant health and safety matters, and applicable Trust health, safety and fire arrangements are made available.

3.0 Mowbray Education Trust Arrangements for Health & Safety

3.1 Setting Health and Safety Objectives

# The Trust Board, CEO and Head Teachers will review progress against health and safety objectives at least termly. Required improvements will be recorded in the relevant Trust or school action plan with a named owner and target date.

3.2 Provision of Effective Health and Safety Training

# Health and safety training needs will be reviewed annually against the Trust training matrix. Mandatory and role-specific training will be prioritised, recorded, and refreshed at suitable intervals.

3.3 Provision of an Effective Joint Consultative Process

# The Trust will maintain effective arrangements for consultation with employees on health and safety matters. Consultation will take place through relevant staff forums, school meetings, recognised trade union or employee representatives and other suitable channels. The Audit, Finance and Risk Committee will receive health and safety performance information at least termly and will monitor significant risks, incidents, compliance issues and overdue actions.

# 3.4 Establishing Adequate Health and Safety Communication Channels

# Communication channels will be established for the exchange of health and safety knowledge and information. Where necessary, these communications will be recorded and include:

# Senior & executive leadership team meetings and staff meetings.

# Site health and safety meetings.

# Provision of information relating to safe systems of work and risk assessments.

# Training provided.

# Communication with relevant specialist bodies and advisors.

# Email bulletins and Trust communications.

# Staff noticeboards and school intranet systems, where appropriate.

# Where health and safety issues cannot be resolved at local level, they will be escalated through the management structure as appropriate.

3.5 Financial Resources

# The Trust Board along with the CEO and relevant Head Teachers will review the budget to determine, in the light of past performance, if adequate resources are being deployed to ensure adequate health and safety management and control.

3.6 Specialist Advice & Support

# The Trust will ensure that access to competent technical advice on health and

# safety matters are procured to assist the Trust in complying with statutory duties and meeting health and safety objectives by accessing the services of a competent Health and Safety Advisor through Leicestershire County Council Health, Safety and Wellbeing Service.

3.7 Audit

# Each Trust member schools health and safety management system will be audited by LTS Health & Wellbeing Service every two years. The Trust views this process as a positive assessment of the health and safety management system in place and takes appropriate action to continually improve health and safety within the trust. External health and safety audit reports will be delivered to the Trust CEO, each individual school’s Head Teacher, the executive team, trustees responsible for Health & Safety and Trust Estates Director for review.

4.0	Local Arrangements for Health and Safety

# Each school must maintain site-specific local health and safety arrangements. These arrangements must cover only activities relevant to the site, identify the responsible role for each arrangement, and be reviewed at least annually and whenever a significant change occurs. Appendix 3 provides the minimum local arrangements checklist.

# Accidents, Incidents, Assaults

# All accidents, assaults and near miss incidents will be reported in the accident book or agreed reporting form within 24 hours of occurrence; RIDDOR reportable incidents, will be reported within the required timescales.

# All incidents will be investigated in an attempt to identify the root cause. Relevant local policies, procedures, and risk assessments will be reviewed and revised as required. All premises related issues will be addressed in a timely manner. Any relevant learning from investigations will be communicated to relevant persons.

# Accidents, assaults and near miss incidents will be monitored at least termly. Major incidents will be reviewed by the senior leadership team as required with information communicated to the trustees annually.

# Accident records will be retained for the following periods: Pupil’s records will be retained for a period of Date of Birth + 25 years, employee records will be retained from the date of incident + 7 years and forms relating to work related ill health is current year + 10 years or longer (40 years where there has been potential exposure to asbestos; where radiation is the cause retention is last action + 50 years).

# Contractor Management

# The Trust will comply with the Construction Design and

# Management Regulations 2015, and the HSE guidance document: HSG159 Managing contractors: A guide for employers. The Trust ensures that:

# Roles of client, principal designer, designer, principal contractor, contractor are understood and formally allocated.

# Competent contractors are used.

# Clear specifications of works are drawn up by a competent person to include phases of the work, duration, separation of building and school site, delivery times and locations, tapping into utilities, site security, fire and emergency coordination, fire escape routes, accident reporting etc.

# Pre-start meetings take place to discuss how works will be managed, responsibilities, codes of conduct and to assess new hazards that may be introduced to the site.

# Key contacts are identified.

# Regular update meetings take place throughout any works/projects.

# Works are visually monitored, and any concerns immediately reported.

# Works are signed off and any associated certification and documentation is obtained.

# All staff/ pupils and other users of the site remain in a safe environment for the duration of the works.

# All contractors are given access to the asbestos register.

# All contractors complete a contractor site induction sheet before work can proceed.

# Control of Hazardous Substances

# The Trust comply with the HSE's approved code of practice

# Control of Substances Hazardous to Health (L5) relating to the management and control of hazardous substances on site and will ensure:

# An inventory of all hazardous substances on site is kept and updated regularly.

# Wherever possible non-hazardous substances are used and if this is not possible the least harmful substance is used.

# A COSHH risk assessment will be completed for all hazardous substances used and shared with relevant staff.

# Wherever possible exposure to hazardous substances is prevented, where exposure cannot be prevented, a risk assessment will be carried out and controls measures implemented.

# Where identified as part of the risk assessment, appropriate PPE will be provided to staff.

# Any requirement for exposure monitoring or health surveillance will be carried out.

# Sufficient information, instruction and training is given to staff to ensure full understanding of the hazards to health posed by substances in the workplace and the importance of control measures provided.

# Training records are maintained for those who receive training.

# Information will also be given to others who may be affected, such as contractors, temporary staff and visitors

# Only substances purchased through the school procurement systems can be used on site.

# Substances are stored correctly and those that are no longer used are disposed of as per the substance’s safety data sheet.

# COSHH risk assessments are monitored and reviewed annually.

# Local Exhaust Ventilation (LEV)

# Where local exhaust ventilation is used to control exposure to dust, fumes, mist, vapour or gases, the Trust will ensure the system remains effective and is managed as part of COSHH arrangements.

# LEV systems will be identified on the relevant site compliance register and used in accordance with operating instructions.

# Systems will receive routine checks and maintenance appropriate to the equipment and risk.

# A competent person will carry out thorough examination and testing at least every 14 months, or more frequently where required by legislation, manufacturer instructions or competent advice.

# Examination, test and maintenance records will be retained and defects affecting control of exposure will be addressed before continued use.

# Health and Safety Emergencies

# As per legal requirements all dangerous occurrences and near miss incidents that are RIDDOR reportable incidents, will be reported to the HSE within the required timescale.

# All incidents will be investigated in an attempt to identify the root cause; relevant local policies, procedures and risk assessments will be reviewed and revised as required. All premises related issues will be addressed in a timely manner. Any relevant learning from investigations will be communicated to relevant persons.

# Defect Reporting

# Trust has a reporting procedure whereby any damage or defect to the premises, equipment or furnishings is reported. Defective equipment is isolated and labelled as defective to prevent use until replaced or repaired. Where premises defects are identified a dynamic assessment is carried out to decide whether an area should be isolated or cordoned off whilst awaiting repair.

# Display Screen Equipment

# The Trust acknowledges that staff who use DSE should have

# suitable equipment to undertake the tasks that they are required to carry out, know how to safely use the equipment and have a DSE assessment which is reviewed at suitable intervals. The Trust ensures that:

# All static workstations used by staff meet the minimum standards required.

# Equipment is maintained in good working condition.

# Staff are aware of best practice in using DSE and issued with relevant information.

# Staff whose roles require significant use of DSE are prioritised for individual assessment and are able to access free eye tests.

# Assessments are reviewed at least at least every two years, earlier if there are significant changes to equipment/layout individual health.

# DSE training and assessment is available via LTS Health Safety and Wellbeing Service buy back.

# Driving

# All staff that drive their own cars for work purposes must have a full UK driving licence, business insurance and maintain their vehicle in a road worthy condition. 6 monthly licence and insurance checks are undertaken and Documented. The Trust:

# Understands the need to take reasonable steps to ensure that employees’ personal vehicles that are used for work purposes are suitably maintained and insured.

# Complies with Trust statutory duties relating to the provision and use of vehicles for work.

# Endeavour to prevent or reduce any risk of harm or loss to employees, pupils and other road users as a result of Trust work practices.

# Shall ensure that all vehicles provided by the Trust for use at work are suitable for the task(s) for which they have been provided and shall take reasonable steps to ensure that vehicles provided to employees for use at work are fully and effectively maintained in good working order and free from defect.

# Shall implement procedures to ensure that employees who use vehicles provided by the Trust carry out a regular, full and effective functionality check of the of the essential safety components of those vehicles.

# The Trust understands the need to take reasonable steps to ensure that employees who drive Trust vehicles or drive their own vehicles on Trust behalf are suitably trained to drive such vehicles and that such employees drive considerately and safely while at work.

# Shall require evidence that employees who drive any vehicle on Trust business are in possession of a current and valid licence to drive that class and type of vehicle.

# Shall require evidence that employees who use their own vehicles for Trust business (and claim business mileage expenses) are insured to use their vehicles on Trust business and are in possession of a valid MOT test certificate for vehicles that are three years old and over.

# Shall provide persons who drive at work with extensive, comprehensible information regarding legal requirements, safe working practices and emergency actions relating to using vehicles on public roads.

# Prohibits all use of mobile phones while driving at work and may invoke disciplinary action against persons who use or cause or permit the use of mobile phones while driving.

# Electrical Systems & Equipment

# The Trust maintains and services electrical systems and

# equipment in line with statutory guidance and best practice.

# Electrical systems (hard wiring) are inspected every 5 years by a competent contractor and records maintained; remedial works recommended are acted upon in a timely manner.

# Portable electric appliances have a portable appliance test (PAT) carried out, in line with HSE guidance 'Maintaining portable electrical equipment in low- risk environments' (INDG236), by a competent contractor with records maintained.

# Workplace inspections are undertaken whereby all equipment is visually inspected.

# Staff are instructed to undertake a visual inspection of equipment prior to use and not to use any equipment that appears damaged or defective. Trust defect reporting procedure is followed as required.

# Fire Safety

# The Trust is committed to providing a safe environment for both staff and pupils and manages the risk of fire by ensuring:

# A detailed fire and emergency evacuation plan has been developed that clearly details actions to be taken when a fire is identified or suspected; individual responsibilities and arrangements for safe evacuation; this will include the development of a Personal Emergency Evacuation Plan (PEEP) for any person requiring assistance in an evacuation.

# An appropriate and up-to-date fire risk assessment is maintained for each premises. It will be reviewed at least annually as a Trust management control and sooner where there is reason to suspect it is no longer valid, following a fire or significant near miss, or after significant changes to the premises, occupancy or activities. A competent person will undertake or validate formal assessments at intervals based on risk, normally not exceeding three years. Actions will be prioritised, recorded and monitored to completion.

# Statutory inspections are carried out on all fire related systems and equipment either both by competent contractors and in house by trained staff

# All staff receive fire awareness training that is regularly updated, and fire marshals receive role specific instruction.

# A fire drill is undertaken at least termly to practice evacuation arrangements and to ensure that the evacuation procedure is carried out successfully and as expected.

# A fire logbook is kept and maintained.

# Gas Safety

# The Trust will manage gas installations and appliances in accordance with the Gas Safety (Installation and Use) Regulations 1998 and relevant HSE guidance.

# Gas work in schools will be undertaken only by a Gas Safe registered engineer who is appropriately qualified for the work being carried out.

# Gas pipework, appliances, boilers, flues and associated safety devices will be maintained in a safe condition in accordance with manufacturer requirements and competent advice.

# Rooms containing gas appliances will have suitable ventilation and flues or air inlets will not be obstructed.

# Inspection, servicing and repair records will be retained within the Trust compliance system.

# Suspected gas leaks, carbon monoxide incidents or unsafe appliances will trigger immediate isolation of the risk, evacuation where necessary and escalation through emergency procedures.

# First Aid & Supporting Medical Conditions

# First aid arrangements are assessed, maintained and monitored. The Trust ensures that:

# Each school will undertake and maintain a suitable first aid needs assessment. This will determine the number and type of trained first aid personnel, equipment, facilities and cover required, taking account of employees, pupils, visitors, off-site activities and foreseeable absences.

# All first aiders and appointed persons hold a valid certificate of competence; the Trust maintains a register of all qualified staff and will arrange re-training as necessary.

# First aid notices are clearly displayed around the Trust.

# Sufficient numbers of suitably stocked first aid boxes are available and checked regularly.

# A suitable area is available for the provision of first aid

# Staff are informed of first aid arrangements through induction, teacher training days and the staff handbook which is issued annually.

# Where first aid has been administered this is recorded.

# Correct reporting procedures are followed including those required under RIDDOR regulations.

# Risk assessments have been carried out which consider first aid provision for lone workers and employees who travel in work vehicles that carry passengers.

# Information, instruction and training will be provided to staff on any specific medical conditions of pupils and the procedures to follow in case of an emergency.

# Pupils with medical conditions will be cared for in line with the medical conditions policy.

# Medication shall be kept securely in line with the medical conditions policy.

# Schools will comply with Department for Education statutory guidance on allergy safety. Each applicable school will maintain and publish the Allergy Safety Policy, reviewed at least annually. Suitable arrangements will include identification of pupils at risk, Individual Healthcare Plans where required, staff training, access to emergency medication, recording of incidents and near misses, and learning following significant allergy-related incidents.

# Infection Prevention and Control

# MET schools will follow applicable infection prevention and control guidance. During an outbreak of communicable infection or disease, local procedures and relevant public health and DfE advice will be followed. Schools will maintain suitable cleaning and ventilation arrangements and communicate required controls to staff.

# Glass & Glazing

# The Trust will comply with the Workplace (Health, Safety and Welfare) Regulations 1992 and the Approved Code of Practice L24 as it relates to glass and glazing and will survey its glass surfaces in doors, windows and door side panels for the presence of safety glass and where appropriate will make remedial actions to install safety glass or film and have it suitably marked to that effect

# Grounds Safety & Security

# External access site boundaries will be checked each day. Building access is restricted via staff and visitor access controls, monitored by main reception at each school. A regular recorded boundary check will take place.

# Security and Emergency Incident Response

# Each school will maintain a security policy or security plan appropriate to its circumstances. A competent person will oversee security arrangements. Security risk assessments will consider internal and external threats, risks beyond the immediate site boundary and relevant cyber security risks. Following a significant security incident or exercise, arrangements will be debriefed, lessons recorded and identified improvements tracked to completion. These arrangements will align with current Department for Education school and college security guidance and the Trust-wide Emergency Incident Response Plan.

# Local security risk assessments will address access control, perimeter security, visitors, contractors, deliveries, vulnerable areas and foreseeable internal and external threats.

# Schools will maintain clear procedures for lockdown, invacuation, evacuation, shelter, suspicious items, threatening communications and other security incidents.

# Emergency roles, communication routes and arrangements for contacting emergency services will be clear and communicated to relevant staff.

# Security and emergency plans will be exercised and reviewed at suitable intervals and after any significant incident or change.

# The Trust will keep protective security arrangements under review and prepare for applicable duties under the Terrorism (Protection of Premises) Act 2025 as the substantive provisions are commenced.

# Adverse Weather

# Schools will maintain local adverse weather arrangements including gritting, snow and ice controls, severe weather decision-making and restrictions on outdoor activities where conditions create unacceptable risk. Local plans will identify decision-makers, communication routes and operational responsibilities.

# High Risk Areas

# Access to higher-risk areas, including plant rooms, boiler houses, electrical cupboards, kitchens and specialist stores, will be restricted to authorised staff, accompanied visitors and competent contractors.

# Housekeeping, Storage, Cleaning & Waste Disposal

# The Trust will ensure that there is suitable and sufficient storage including Systems for ensuring that items are included on an inventory and checked periodically where necessary for safety.

# The Trust will ensure that there are systems in place for cleanliness, to minimise the accumulation of rubbish, for the removal and disposal of controlled waste and for the cleaning of spills/ wet floors to minimise the risk of slips.

# The Trust will ensure that there are suitable and sufficient external waste bins secured from the risks of arson and tampering.

# Where applicable and to accommodate the requirements of environmental Legislation the Trust will arrange for suitable disposal/recycling of relevant Items e.g., fluorescent lighting and waste electrical appliances.

# Suitable arrangements will be made for the clearing of snow as part of winter preparedness, and ongoing management as per the gritting plan.

# Waste Control & Disposal

# The Trust recognises its duty towards the environment in regard to waste and its disposal, which will be responsibly conducted with only approved carriers used for special waste as legally required.

# The Trust have assessed waste control and disposal and have made provision for waste product and material to be collected and stored in suitable identified containers. Arrangements are in place to dispose of waste product and material in an environmentally friendly way.

# All employees are responsible for keeping places of work neat and tidy, disposing of waste materials in containers designed to eliminate spillage, fumes and dust or for recycling.

# The Trust will maintain a Waste Data Stream and information for the disposal of special waste via the Trust Estates Director, in cooperation with staff from areas where special waste is produced, along with local enforcement officers and only specialist contractors.

# Management of Asbestos

# The Trust complies with the HSE's approved code of practice 'Managing and Working with Asbestos, Control of Asbestos Regulations 2012, Approved Code of Practice & Guidance (L143).

# Trust is committed to preventing exposure to asbestos fibres to all persons that enter onto its premises. Trust has a whole site asbestos ‘management survey’ (previously known as Type 2 survey) from which a local asbestos management plan (Lamp) has been developed. The Local Asbestos Management Plan (LAMP), together with the asbestos register will be kept up to date.

# A minimum termly visual inspection of all identified asbestos containing materials (ACMs) that are not encapsulated or in restricted access areas are undertaken and documented, where necessary more frequent checks of ACMs will be undertaken. Any concern relating to known or suspected ACMs are addressed as per the procedures detailed in the LAMP.

# Prior to any works that will, or has the potential to, alter the fabric of the building, a ‘refurbishment and demolition survey’ will be obtained in order to undertake a comprehensive assessment of the materials being disturbed prior to any work. Where necessary works that are likely to disturb asbestos will be planned so as to avoid disturbance (re-routed) or the asbestos will be removed by competent, licensed contractors prior to building works commencing.

# Any changes to the building where asbestos has been identified or is suspected and where any work on, or the removal of, asbestos has been carried out will be recorded in the asbestos register and kept with the school’s Local Asbestos Management Plan (LAMP).

# Lifting Equipment and Lifting Operations (LOLER)

# Where lifting equipment is used at work, the Trust will manage it in accordance with the Lifting Operations and Lifting Equipment Regulations 1998 (LOLER) and PUWER as applicable.

# Lifting equipment and accessories will be suitable for their intended use, appropriately marked and maintained in a safe condition.

# Lifting operations will be properly planned by a competent person, appropriately supervised and carried out safely.

# Equipment subject to LOLER will receive statutory thorough examination at the intervals required by the Regulations or in accordance with a written examination scheme prepared by a competent person.

# Passenger lifts, platform lifts, hoists and other relevant equipment will be included within the Trust compliance register.

# Equipment with a defect presenting danger will be removed from use until the defect is remedied, and examination reports will be retained.

# Moving & Handling

# The Trust complies with the HSE's approved code of practice 'Manual Handling. Manual Handling Operations Regulations 1992 (as amended). Guidance on Regulations (L23)’. Within Trust there are a variety of moving and handling tasks that may be necessary; this could range from moving files to assisting an individual with mobility issues. The Trust manages the risk associated with moving and handling tasks by ensuring that:

# Moving and handling is avoided where possible.

# If it cannot be avoided, moving and handling is properly planned, has a relevant risk assessment, is carried out by competent staff and carried out in a manner which is, so far as is reasonably practicable, safe.

# Those undertaking specific moving and handling tasks have received appropriate training and training records are maintained.

# Any equipment provided to assist with moving and handling tasks is maintained and serviced in accordance with statutory requirements.

# Any defective equipment is taken out of use until repaired or replaced

# An individual risk assessment will be completed for all new or expectant mothers and staff with identified medical conditions that may be affected by undertaking moving and handling tasks, these may result in some moving and handling task being restricted.

# Any accidents resulting from manual handling operations will be investigated to identify root causes and implement additional controls as required.

# Noise & Vibration

# The Trust will make arrangements for the assessment of risk, protection and other control measures where the noise levels reach the action values as detailed within the Control of Noise at Work Regulations 2005. The Trust recognises its statutory duties to prevent or reduce the risk of harm to its employees as a result of exposure to excessive noise or vibration at work and to:

# Comply with statutory duties relating to the prevention and control of the risk of harm caused by exposure to excessive noise or vibration.

# Prevent or reduce any harm, suffering and lost time caused by exposure to excessive noise or vibration.

# Take all reasonable steps necessary to ensure that the risk of hearing damage to staff and pupils who work with noisy equipment or in a noisy environment is reduced to a minimum.

# Ensure through its purchasing procedures that any plant or equipment purchased or hired for use at work does not generate unreasonable levels of noise and vibration.

# Ensure plant and equipment that may generate harmful levels of noise or vibration shall be maintained in good working order so as to reduce the likelihood of noise and vibration levels increasing significantly through wear and tear.

# Carry out surveys as necessary to establish which employees and pupils are likely to be exposed to levels of noise or vibration that are likely to cause harm and shall implement suitable measures to reduce such exposure to a reasonable level.

# Where necessary introduce a programme of health surveillance in consultation with employees and a registered medical practitioner for employees who are shown through surveys to be regularly exposed to harmful levels of noise or vibration, or who have been diagnosed as having symptoms of harm caused by exposure to noise or vibration.

# Shall provide relevant employees with information regarding the significant results of any relevant surveys, the methods available to reduce risk, the nature of Noise Induced Hearing Loss (NIHL) and Hand-Arm Vibration Syndrome (HAVS), including causes, symptoms and effects, the results of any health surveillance, and the course of action to take should symptoms become apparent.

# Occupational Health Services & Work-Related Stress

# The Trust acknowledges that there are many factors both work related and personal that may contribute to staff being from absent from work through

# injury and ill health including stress. The Trust will follow the principles of the HSE guidance 'Managing the causes of work-related stress' (HSG 218).

# The following arrangements are in place to locally manage staff health issues:

# Employees are advised that it is their responsibility to inform their line manager, the Head Teacher or another member of the senior leadership team of any ill health issues.

# An appropriate senior member of staff will meet and discuss the ill health issues with the employee and consider what actions can be taken to support the staff member and where appropriate assist in reducing stress levels.

# The member of staff will be offered a referral to an occupational health professional for advice and support, e.g., counselling, etc.

# The member of staff will be advised that support can also be provided through their trade union.

# A series of regular review meetings will be scheduled to monitor ill health and stress levels where they have been identified.

# If it is identified that there is a high occurrence of staff ill health or stress within the site, the Head Teacher will actively seek support to undertake a holistic assessment to identify what the possible root cause may be and implement a plan to improve the situation.

# Off Site Visits Including School Led Adventure Activities

# The Trust has created an Off-Sites visits policy which should be followed by the EVC (Educational Visits Coordinator) and Visit Leaders.

# Educational visits will be managed using a proportionate risk-management approach. Routine visits covered by existing policies and procedures will not require unnecessary additional risk assessments. Non-routine, higher-risk, residential, overseas and adventurous activities will receive suitable additional assessment and planning.

# The Trust requests staff to follow the Off-Site visits policy and adopt OEAP National guidance when creating risk assessments for off-site visits. https://oeapng.info/

# All approvals for off-site visits will be done by the Head Teacher or designated and trained deputy.

# All residential, overseas and adventurous activity visits will be logged on the EVOLVE system. The LTS Health Safety and Wellbeing team duty officer at Leicestershire Traded Services can provide advice via the EVOLVE system.

# https://evolve.edufocus.co.uk/evco10/evchome_public.asp?domain=LeicestershireCountyCouncil This link directs to the EVOLVE website. For login enquiries please contact 0116 305 5515.

# Playground, PE and Sports Equipment

# The Trust will ensure fixed and portable playground, physical education and sports equipment is suitable, maintained and safe for intended use.

# Staff will undertake appropriate pre-use or routine visual checks and report defects promptly.

# Documented periodic inspections will be completed at intervals appropriate to the equipment, manufacturer instructions, use and risk.

# Playground equipment will be inspected and maintained with regard to relevant recognised standards and competent specialist advice.

# Unsafe equipment will be isolated or removed from use until repaired or replaced, with actions recorded and monitored.

# Risk Assessment

# The Trust ensures risk assessments are undertaken for tasks/activities where hazards have been identified or where there is a foreseeable risk of injury/ill health.

# A system for the development and upkeep of risk assessments will be devised by each school in the Trust. This system will be documented and reported to the Trust.

# Within the Trust various persons are tasked with the development of risk assessments based on their knowledge, experience and competence.

# Relevant staff will develop the risk assessments prior to consultation with all staff to which they are relevant prior to sign off. Risk assessments are accessible to staff at all times electronically/hard copy.

# New and expectant mothers risk assessments will be conducted in line with HSE Guidance.

# Young person’s risk assessments will be carried out for staff working on site falling within this age range, as applicable.

# Risk assessments will record significant findings, including identified hazards, persons who might be harmed, existing control measures and any further actions required. Assessments will be reviewed where there is reason to believe they are no longer valid, following significant change, following a relevant accident or incident, or where monitoring identifies a need for review.

# Smoking

# The Trust complies with UK law on smoking in both indoor and external spaces and has a no smoking policy which extends to the limits of the curtilage of the site. The policy extends to the use of vaping devices and e-cigarettes. The Trust has signage on site and will ensure any persons seen smoking onsite are instructed not to do so.

# Statutory Inspections

# The Trust ensures statutory inspections are undertaken at required intervals for plant and equipment. Information detailing required inspections, date of last inspection, date of next inspection and who is undertaking the inspection is recorded and monitored by the Trust Estates Director / Premises Team.

# Preventing Workplace Harassment and Violence

# The Trust is committed to providing a safe and secure working and educational environment for staff, pupils and any other persons on its site. Where applicable, in addition to the control measures identified in the site specific lone working risk assessment, the following procedures are in place:

# Staff are advised to:

# Avoid confrontation if possible.

# Withdraw from a situation or escalating situation.

# Arrange seating so that a clear escape route from the room to a place of safety is available. Sit near the door or use a room with two doors.

# Contact emergency services, as appropriate.

# Inform the Head Teacher or a member of the senior management team if confrontation has taken place.

# The Trust will:

# Ensure the Head Teacher or member of the senior leadership team to attend the site of an incident on being informed of an incident, if considered necessary.

# Have in place procedures for the reporting of incidents.

# Offer counselling/ support through Occupational Health.

# Debrief individuals following any incident.

# Provide training on how to manage conflict and aggression as required

# Review the appropriate risk assessments following any incident.

# Physical Intervention

# The Trust will follow its Positive Handling policy and all applicable DfE and local authority guidance on reasonable force and physical intervention. Staff whose roles require physical intervention will receive suitable training. Incidents will be reported, reviewed and managed under the relevant school behaviour and safeguarding procedures.

# Vehicles on Site

# All cars are to be parked in the designated parking spaces and deliveries are segregated from the general school population. A Pedestrian & Vehicle Movement on Site risk assessment is carried out.

# Tree Safety

# Schools with trees on site will undertake routine visual checks, additional checks following severe weather, and periodic competent-person surveys based on risk, condition and planned development. Defects or concerns will be recorded and acted upon.

# Powered and Automatic Gates and Doors

# Where powered or automatic gates and doors are installed, a nominated person will oversee operation and routine safety checks. Equipment will be serviced and maintained in line with manufacturer requirements, defects will be addressed, records retained and emergency procedures communicated to relevant staff.

# Water Hygiene Management

# The Trust will comply with the HSE approved code of

# practice: 'Legionnaires' disease - The Control of Legionella Bacteria in Water Systems' (L8) and will:

# Employ an external person with relevant knowledge and competence to obtain initial advice on any necessary actions.

# Employ a competent external contractor to provide a suitable survey/risk assessment in line with statutory guidance.

# Employ a competent external contractor to undertake water sampling and routine cleaning, maintenance and disinfection of water systems and thermostatic mixing valves (TMV’s) as applicable. TMV’s will be serviced in accordance with the manufacturer’s instructions or as advised by a competent contractor.

# Ensure regular flushing of little used outlets is completed by a competent person on a weekly basis.

# Ensure monthly monitoring of water systems including temperature readings is completed by a competent person.

# Working at Height

# The Trust will follow the principles of the HSE guidance 'The Work at Height Regulations 2005 (as amended) A brief guide' (INDG401). Trust use a variety of access equipment for working at height tasks including ladders, step ladders and kick stools.

# The Trust ensures that:

# Work at height is avoided whenever possible, if it cannot be avoided, work at height is properly planned, has a relevant risk assessment, is carried out by competent staff and carried out in a manner which is, so far as is reasonably practicable, safe.

# Those undertaking work at height have received appropriate training and training records are maintained.

# All access equipment (ladders, step ladders, tower scaffolds etc.) is identifiable and inspected as required.

# Any equipment provided to assist with working at height tasks is maintained and serviced in accordance with statutory requirements.

# Any defective equipment is taken out of use until repaired or is replaced.

# An individual risk assessment will be completed for all new or expectant mothers and staff with identified medical conditions that may be affected, this may result in working at height being restricted.

# Accidents resulting from working at height will be investigated to identify root causes and implement additional controls as required.

# Workplace Environment and Welfare

# The Trust will provide and maintain a workplace environment that meets applicable requirements of the Workplace (Health, Safety and Welfare) Regulations 1992 and school premises requirements.

# Suitable ventilation, indoor temperature, lighting, cleanliness and space will be maintained so far as reasonably practicable.

# Suitable sanitary conveniences, washing facilities and wholesome drinking water will be provided and maintained.

# Traffic routes, floors, doors, gates, windows and access routes will be maintained so they remain safe for staff, pupils and visitors.

# Welfare arrangements will take account of disabled people, new and expectant mothers and other individuals with identified needs.

# Workplace Inspections

# The Trust recognises the importance of undertaking regular formal workplace inspections to ensure that the premises remain a safe working and educational environment for staff and pupils. Regular workplace inspections are undertaken with findings documented and any actions allocated with remedial actions. Inspection findings are reviewed with actions monitored for close out at the health and safety committee. It is recognised that inspections alone will not keep premises safe and there is an expectation that staff will report any defects/damage to premises and equipment as per the Trust defect reporting procedure.

# Health and Safety Provision for Pregnant Employees

# Pregnant workers may be at greater risk of harm than other employees when carrying out certain tasks such as moving heavy loads, and their work must therefore be re-assessed to ensure that reasonable adjustments are made to their work routines where necessary to reduce the risk of harm.

# The Trust recognises that from time to time some of its female pupils may also be new mothers or pregnant, and where this is identified, the Trust has a

# duty-of- care to reduce the risk of harm to mother and child from its activities, wherever possible.

# The Trust recognises that some of its operations may, unless properly controlled, pose specific risks to the health and safety of pregnant women and new mothers and will take all reasonably practicable measures to eliminate or reduce these risks to an acceptable level.

# The Trust shall ensure an assessment is made of the risks to pregnant employees or pupils, paying particular attention to:

# Any night shifts or extended working hours.

# Possible exposure to chemicals, radiation, lead or biological agents.

# Heavy manual work including manual handling.

# Any long distances or flights of stairs to be traversed at work.

# The frequency and duration of rest periods.

# The availability of rest facilities.

# Other hazards likely to affect the health and safety of the mother or child

# Lone Workers and Peripatetic Workers

# The Trust has defined lone work as:

# Work which is carried out unaccompanied or without immediate access to Individuals who work on their own without close or direct supervision and peripatetic workers such as community outreach workers.

# The Trust believes that its employees, contractors and partners should be able to carry out their work without fear of physical attack or physical or verbal abuse and recognises its responsibility to provide employees who work alone with reasonable means to protect themselves from violent or abusive behaviour, and to obtain assistance in an emergency.

# Where an employee regularly carries out tasks involving lone working in public areas and feels at risk, they must bring it to their Line Manager's attention.

# Managers are also responsible for identifying individuals and groups of employees who may regularly work on their own, as defined above, and also to identify occasions where staff could be at risk from lone working.

# Where any such lone working is identified, the Trust shall ensure that an assessment of risk is carried out and shall implement protective measures proportionate to the level of risk involved.

# Any communications, tracking, alarm or protective equipment issued in pursuance of this policy shall be suitable for its purpose and, if appropriate, shall be periodically tested to ensure its correct operation.

# Employees who are handling Trust property are expected to hand it over if a specific demand with violence is made rather than place themselves at unnecessary risk. A police report shall always be made in such situations.

# Dangerous and Flammable Substances (DSEAR)

# The Trust will comply with the Dangerous Substances and Explosive Atmospheres Regulations 2002 (DSEAR). Where dangerous substances, gases under pressure or combustible dusts are present, a suitable and sufficient assessment will identify fire, explosion and related safety risks. Risks will be eliminated where reasonably practicable or reduced through substitution, safe storage, ventilation, segregation, control of ignition sources, emergency arrangements and suitable information and training.

# The Trust recognises its statutory duty to identify and control risks arising from the storage, handling and generation of flammable substances used or produced within work activities.

# There is an enormous variety of flammable substances to be found within the workplace. These may range from the obvious, e.g., petrol, paint thinners, welding gases and heating fuels, to the not so obvious, e.g., packaging materials and wood working dusts.

# The Trust accepts that some work processes require the use of flammable substances and will take all reasonable steps to reduce the risk to the health and safety of employees and pupils using and working with them.

# The Trust also accepts that some work processes may produce, as by products potential flammable dusts, gases and fumes and as such will take reasonable steps to reduce their production and level of risk to the health and safety of persons working within the Trust.

# The Trust will carry out risk assessments of work activities and storage arrangements and undertake all reasonable steps to reduce the risks found as a result of assessments.

# The Trust shall provide suitable arrangements for the safe storage and transport of flammable substances ensuring that they are held in appropriate storage areas until required. Managers will arrange for employees to be given training, equipment, instruction and information necessary to ensure they take appropriate precautions and use the appropriate P.P.E in these conditions.

# Pressure Systems

# The Trust will identify pressure systems that fall within the Pressure Systems Safety Regulations 2000 (PSSR) and will ensure they are operated and maintained safely.

# Safe operating limits will be known and systems will be operated within those limits.

# Where required, a suitable written scheme of examination will be prepared or certified by a competent person before the system is operated.

# Qualifying pressure systems and protective devices will be examined by a competent person in accordance with the written scheme.

# Routine maintenance will be undertaken in addition to statutory examination, and records of examinations, maintenance and remedial actions will be retained.

# Defects affecting safe operation will result in the system being isolated or otherwise controlled until it is safe to return to service.

# Radiation – Ionising and Non-Ionising

# The Trust recognises its statutory duty to eliminate or reduce as low as possible the extent of staff and pupil exposure to ionising radiation sources which may be found in the form of electromagnetic rays (x- rays, gamma rays) or particles (alpha and beta particles) where they are used within work Processes.

# The Trust recognises its statutory duty to protect the eyes and skin of staff

# and pupils from exposure to hazardous sources of non-ionising radiation in the form of artificial optical radiation (AOR) and electromagnetic fields (EMF) where they are used within work processes.

# (AOR includes light emitted from all artificial sources in all its forms such as ultraviolet, infrared and laser beams. EMF includes power frequencies, microwaves and radio frequencies)

# The Trust recognises its statutory duties regarding the keeping and use of radioactive substances on Trust premises, the requirements to obtain permits regarding use of radiation sources where required, and to protect the environment from radioactive pollution by controlling the disposal of any radioactive waste.

# To comply with the Trust ’s statutory duties relating to exposure to sources of both ionising and non-ionising radiation and to comply with the Trust ’s statutory duty in relation to the keeping and use of radioactive substances on its premises the Trust shall:

# Appoint a Radiation Protection Supervisor (RPS) and ensure that any source of ionising or non-ionising radiation for use within work processes is identified and that suitable and sufficient information is available in respect of that substance.

# Risk assessments for all uses of ionising radiation will be conducted, the RPS will assist in the production of Local Rules appropriate to the radiation risk and the nature of the work carried out, and in securing compliance with them.

# The Trust will ensure the local rules are made known and observed.

# If necessary, the RPS will contact the Radiation Protection Adviser or the Environment Agency for advice regarding whether permits are required for any ionising radiation sources in use and held by the Trust.

# Risk assessments will identify where staff or pupils are exposed to sources of non-ionising radiation and preventative and protective measures shall be implemented according to the form of source, the nature and degree of potential harm and the process during which it is used or emitted.

# Radon

# The Trust will consider radon as part of workplace risk assessment and estate management, using current HSE and UK public health guidance to determine where measurement or further assessment is required.

# Where measurement identifies elevated radon, the Trust will obtain competent advice and implement proportionate exposure controls or building remediation.

# Where annual average workplace radon levels exceed 300 Bq/m³, the Trust will consider the requirements of the Ionising Radiations Regulations 2017 and seek advice from a suitable Radiation Protection Adviser.

# Radon assessments and measurements will be reviewed following significant building changes or where updated mapping or guidance indicates a material change in risk.

# Workplace Equipment (PUWER)

# The Trust will comply with the Provision and Use of Work Equipment Regulations 1998 (PUWER). Plant and equipment provided for work will be suitable for its intended use, maintained in a safe condition, inspected where necessary and used only by persons who have received suitable information, instruction, training and supervision. Guards, controls and safety devices will be maintained and must not be defeated or bypassed.

# The Trust recognises its statutory duty to ensure that plant and equipment provided to employees for work purposes are safe to use, are maintained in a safe condition and are used only by suitably trained and authorised persons. All reasonable steps will be taken to ensure the health and safety of employees and others who use, operate, or maintain workplace equipment. The Trust acknowledges that using equipment maybe hazardous and is therefore its intention to reduce the risks as far as is possible.

# The Trust shall ensure that health and safety issues are considered when purchasing or hiring any plant, equipment, or vehicle for use at work. Any plant, equipment or vehicle which is purchased or hired by the Trust shall be suitable for the task and used only for the task(s) for which it was specified.

# Plant or equipment owned or hired by the Trust for use at work shall be maintained in good working order. Plant or equipment that is likely to deteriorate to a condition of danger will be maintained according to a planned preventative maintenance schedule and records of all servicing and maintenance must be held.

# Employees making use of plant, equipment or vehicles provided by the Trust for use at work shall be given suitable and sufficient training, instruction, and information in accordance with the type and level of risk associated with such Use.

# All machinery and equipment in any of the workshops in the Trust has been identified as potentially hazardous. It is important that staff follow instructions and guidelines to ensure the safety of staff and pupils using the machinery and working in the workshops.

# Pupils will be given full instruction and training on how to use and maintain a range of hand tools within their area of training. Training and supervision will be given to pupils in the use of handheld power tools and fixed machinery.

# Authorisation will not be given for pupils to use power tools or machinery until competence can be proven.

# Confined Spaces

# Confined spaces are areas which have difficult access or egress due to restricted or limited dimensions. Additional hazards may include a lack of breathable air, extremes of temperature,excessive humidity or condensation, lack of natural light, toxic gases, fumes, vapour, dust or sludge.

# The Trust recognises its statutory duties to provide safe access and places and systems of work for its employees who work in a confined space and understands the need to take reasonable steps to ensure that employees who undertake work within confined spaces are suitably trained to do so and that such employees are made aware of the risks of such work.

# The Trust shall undertake a risk assessment and implement reasonable measures to prevent or control work carried out within confined spaces, and for the rescue of persons in the event of an emergency.

# The Trust shall also provide relevant employees with information regarding the significant risks identified within the working environment and the emergency arrangements.

# Personal Protective Equipment (PPE)

# The Trust recognises its statutory duties to provide suitable Personal Protective Equipment to its employees and pupils to protect them against identified risks that cannot be prevented or sufficiently controlled by other more effective Means.

# The Trust accepts that Personal Protective Equipment may not eliminate risk and does not contribute to the protection of other persons who may be affected by the works.

# To comply with the Trust ’s statutory duties relating to the provision, use, storage and maintenance of Personal Protective Equipment and to accord priority to measures other than the use of Personal Protective Equipment for the prevention or control of risk the Trust shall:

# Implement preventative or control measures that eliminate risk, prevent or reduce harm, prevent or reduce loss or protect the greater number of persons rather than issue Personal Protective Equipment.

# Provide PPE that shall sufficiently reduce the risk of harm to the wearer and shall be suitable for the individual’s use and comfort and shall not unreasonably inhibit the user’s ability to carry out his or her work.

# Provide employees and pupils with sufficient and appropriate training and information to allow them to make full and proper use of Personal Protective Equipment, to inspect such equipment for damage, and to report any damaged or lost Personal Protective Equipment.

# implement reasonable measures to maintain or replace as necessary any Personal Protective Equipment so that it remains effective at all times.

# Provide suitable storage where necessary to protect Personal Protective Equipment from damage or to prevent cross-contamination with other clothing.

# All PPE required by a risk assessment for work activities will be provided to workers free of charge. The Trust will ensure required PPE is suitable, maintained, replaced when necessary and stored appropriately. Staff must use PPE in accordance with information, instruction and training provided.

# Work Placements, and Work-Based Learning

# Whilst on work experience, pupils are designated as employees for the purposes of health and safety legislation, and they must be afforded the same health and safety protection as other employees.

# Young persons are considered to be at greater risk from workplace hazards due to their lack of experience and maturity, and are therefore owed a greater duty of care, even when on work experience, they are designated as employees for the purposes of health and safety legislation, and they must be afforded the same health and safety protection as other employees.

# Where a learner undertakes work experience as part of a course arranged by the College, placement staff must take steps to assess and ensure that ‘relevant training’ in relation to health and safety is provided by the employer offering the work placement and its duration. A procedure supports this policy to check and monitor health, safety and welfare issues of Work Placement Providers.

# The Trust recognises its duty-of-care to;

# Ensure that pupils undertake work experience in a healthy and safe environment, and comply with the Trust ’s statutory duties relating to pupils undertaking work experience as part of their course.

# Prevent or reduce any risk of harm or loss to pupils and other persons as a result of the participation on pre-arranged work experience.

# Occupational Disease – Blood-Borne Viruses and Zoonoses

# The Trust recognises its duty to ensure that employees are aware of common occupational diseases relevant to their work, and to implement reasonable measures to protect employees from exposure to such diseases.

# Blood-borne viruses of concern include hepatitis B, hepatitis C and HIV. Exposure may arise through needlestick or sharps injuries, first-aid incidents, contact with blood or body fluids, cleaning activities or other work where skin or mucous membranes may be exposed.

# Zoonoses are diseases transmitted from animals to humans. Relevant risks may arise through contact with animals, animal waste, contaminated soil, pest activity or maintenance work. Examples include leptospirosis, psittacosis and tetanus. Risk assessments and suitable hygiene, PPE and occupational health controls will be used where exposure is foreseeable.

# The Trust will comply with its statutory duties relating to the prevention, control and reporting of occupational diseases.

# The Trust shall identify groups of employees who are, by the nature of their work, at risk of exposure to occupational diseases, and shall implement reasonable measures to prevent or reduce such risk.

# At risk groups shall be provided with information regarding the risks of exposure to, consequences of and preventative and protective measures against such exposure and the Trust shall encourage at-risk employees to be vaccinated against occupational diseases if such vaccination is available. The Trust shall arrange for such vaccinations to be available free of charge to

# at-risk employees.

# Safety Signs and Signals

# The Trust recognises its statutory duty to display specific safety signs whenever there is a risk that has not been avoided or controlled by other means, e.g., by engineering controls and safe systems of work so as to notify employees and others who may be affected of either danger present, or of safe conditions.

# To comply with the Trust ’s statutory duties relating to displaying appropriate safety signage the Trust will take all reasonable steps to ensure that all safety signs, signals and markings (pipe work etc) used or displayed on Trust premises to warn and instruct staff and pupils of risks to their health and safety, including fire safety, will comply with current legislation as regards colour, size, shape and pictogram.

# Slips, Trips and Falls

# Statistics show that slip, trip and fall injuries result in many absences from work, cause unnecessary pain and suffering to employees and economic loss to an organisation. The Trust will assess areas of risk and implement reasonable and practicable control measures in order to control slip and trips risks within the environment and reduce the risk of slip, trip and fall injuries to as low as reasonably practicable.

# Catering and Vending

# The Trust recognises its statutory duties in relation to food hygiene within its areas of catering and vending and acknowledges the hazards associated with food hygiene. The Trust will:

# Exercise all reasonable precautions and due diligence to maintain the highest standards of catering and vending.

# Ensure the Trust or subcontractor does not include anything in food, remove anything from food or treat food in any way which means it would be damaging to the health of people eating it.

# Ensure food served or sold is of the nature, substance or quality which consumers would expect.

# Ensure food is labelled, advertised and presented in a way that is not false or misleading.

# Visitors

# The Trust recognises its statutory duties to protect people not in its employ such as visitors from harm, loss and unreasonable inconvenience as a result of the Trust ’s work activities and will:

# Implement all appropriate and reasonably practicable measures to protect members of the public from any unacceptable risk of harm or loss due to its operations and shall provide suitable information to members of the public where appropriate in order to allow them to avoid such risk.

# Arrange periodic inspections and tests of equipment and facilities that are provided for the use of by pupils and other persons as are required by law or are otherwise necessary to protect such persons from any unacceptable risk of harm or loss.

# Ensure employees treat members of the public courteously and respectfully at all times.

# Take reasonable care to ensure that any of the protective arrangements made under this policy are suitable and sufficient for the needs of disabled and other vulnerable persons who are likely to benefit from the arrangements.

# Ensure all visitors are required to sign in and out at the reception and wear visitor identification provided.

# Lettings

# Where Trust premises are let to third parties, the local lettings policy will set out fire evacuation, security, accident reporting and first aid arrangements. Hirers must co-operate with MET, follow local health and safety and emergency arrangements, and provide suitable risk assessments for activities that introduce additional or unusual risks.

# Monitoring and review

# This Health and Safety Policy and health and safety performance will be reviewed annually, and sooner following significant organisational, operational or legislative change, a serious incident, or where monitoring identifies a need for review.

# In order to substantiate that health and safety standards are actually being achieved, the Trust will measure performance against predetermined plans and objectives. Any areas where the standards are not being met will require remedial action.

# The Trust will use different types of systems to measure health and safety performance.

# Active monitoring systems

# Spot checks and regular site inspections will be undertaken.

# Documents relating to the promotion of the health and safety culture will be regularly examined and reviewed.

# Appropriate statutory inspections on premises, plant and equipment will be undertaken.

# Where necessary, health surveillance and environmental monitoring systems will be implemented to check the effectiveness of health control methods and to detect early signs of harm to health.

# Reactive monitoring systems

# Identify where health and safety standards are not being met by monitoring for failures in the systems - such as accidents, cases of ill health (work-related sickness), damage to property etc.

# Reporting and response systems

# Ensuring monitoring information is received, having regard to situations which create an immediate risk to health or safety, as well as longer-term trends and ensuring remedial action is taken.

# Health and safety committee, the Trust and Senior Leadership team will all receive and consider reports on health and safety performance.

# Investigation systems

# Investigations will be implemented for incidents proportionate to the severity of the incident. The investigation will incorporate systems to identify both the immediate and the underlying causes of events

# Analyse data to identify common features or trends and initiate improvements; where cases of occupational ill-health are to be investigated, where complaints relating to occupational health and safety are to be recorded and investigated, where accidents/incidents and assaults with the potential to cause injury, ill-health or loss are to be reported, recorded and appropriately investigated.

# Third Party Monitoring/ Inspection

# The Trust will cooperate with relevant external inspection, enforcement and assurance bodies. These may include the Health and Safety Executive, fire and rescue authority, local authority or environmental health functions where applicable, insurers, competent external auditors and other regulators. Actions arising from external audit, inspection or enforcement will be recorded, allocated to a responsible person and monitored to completion within an appropriate timescale.

# Business Continuity

# The Mowbray Education Trust will create a business continuity plan, this plan will be used during events which have the potential to cause major disruption to our services. Although such events are rare, it is important that plans are in place plans to assist in managing and recovery from these situations as they arise.

# In the event of a major emergency or disruption, coordination and implementation of the business continuity plan is the responsibility of the ELT/ SLT/ Headteacher/Trust Estates Director. This group will form the SEMT (Senior Emergency Management Team) in the event of a major emergency or major disruption.

# Appendix 1: Key Legislation and Guidance

# This appendix identifies the principal legislation and guidance supporting this policy. It is not an exhaustive legal register. The Trust will monitor changes in legislation and authoritative guidance and update its arrangements where required.

# Health and Safety at Work etc. Act 1974.

# Management of Health and Safety at Work Regulations 1999.

# Workplace (Health, Safety and Welfare) Regulations 1992.

# Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 2013 (RIDDOR).

# Regulatory Reform (Fire Safety) Order 2005.

# Control of Substances Hazardous to Health Regulations 2002 (COSHH).

# Control of Asbestos Regulations 2012.

# Construction (Design and Management) Regulations 2015.

# Electricity at Work Regulations 1989.

# Gas Safety (Installation and Use) Regulations 1998.

# Provision and Use of Work Equipment Regulations 1998 (PUWER).

# Lifting Operations and Lifting Equipment Regulations 1998 (LOLER).

# Pressure Systems Safety Regulations 2000 (PSSR).

# Manual Handling Operations Regulations 1992, as amended.

# Work at Height Regulations 2005.

# Personal Protective Equipment at Work Regulations 1992, as amended in 2022.

# Dangerous Substances and Explosive Atmospheres Regulations 2002 (DSEAR).

# Control of Noise at Work Regulations 2005 and Control of Vibration at Work Regulations 2005.

# Health and Safety (Display Screen Equipment) Regulations 1992.

# Health and Safety (First-Aid) Regulations 1981.

# Health and Safety (Safety Signs and Signals) Regulations 1996.

# Confined Spaces Regulations 1997.

# Ionising Radiations Regulations 2017, where applicable.

# School Premises (England) Regulations 2012, where applicable.

# Department for Education, Health and safety: responsibilities and duties for schools.

# Department for Education, Good estate management for schools.

# Department for Education, School and college security guidance.

# Terrorism (Protection of Premises) Act 2025 and statutory guidance, with substantive duties applied when commenced.

# Education (Independent School Standards) Regulations 2014, including Part 5.

- Department for Education, School Estate Management Standards.

- Department for Education, Allergy Safety in Schools statutory guidance.

- Department for Education, Supporting Pupils with Medical Conditions at School statutory guidance.

- Department for Education, First Aid in Schools, Early Years and Colleges.

- Academy Trust Handbook, current edition.

- Academy Trust Governance Guide, current edition.

# Appendix 2: Linked Trust Policies and Arrangements

# This policy operates alongside the following Trust and school-level documents. The current approved version of each document should be used.

# Trust-wide Emergency Incident Response Plan.

# Business Continuity Plan and school continuity arrangements.

# Fire safety and emergency evacuation arrangements, including PEEPs where required.

# Lone Working Policy and associated risk assessments.

# Contractor Management arrangements and CDM procedures.

# Local Asbestos Management Plan and asbestos register for each applicable site.

# Water Hygiene and Legionella arrangements.

# First Aid arrangements and Supporting Pupils with Medical Conditions Policy.

# Off-Site Visits Policy and EVOLVE arrangements.

# Positive Handling / Physical Intervention Policy.

# Adverse Weather arrangements and gritting plans.

# Lettings Policy and hirer arrangements.

# Safeguarding, behaviour and visitor management procedures.

# Trust statutory compliance register and planned preventative maintenance schedules.

# Allergy Safety Policy and associated Individual Healthcare Plans.

# School-specific local health and safety arrangements and risk assessments.

# Appendix 3: Minimum Local Health and Safety Arrangements Checklist

# Each school must complete and maintain local arrangements relevant to its site. The checklist below sets the minimum headings to be addressed. Schools may add further arrangements where local activities or risks require them.

| Local arrangement | Applies | Lead role | Minimum evidence / control |
| --- | --- | --- | --- |
| Accident, incident, assault and near-miss reporting | Yes | Head Teacher / delegated lead | Reporting route, investigation and escalation |
| Asbestos management | Where applicable | Estates / Premises | LAMP, register, inspections, contractor access |
| Business continuity and emergency incident response | Yes | Head Teacher / SLT | Local plan, contacts, exercises and review |
| Contractor management and CDM | Where applicable | Estates / Premises | Selection, induction, permits, monitoring |
| COSHH, DSEAR and chemical storage | Where applicable | Department / Premises | Inventory, assessments, SDS, storage |
| Electrical safety and portable equipment | Yes | Estates / Premises | EICR, maintenance, local visual checks |
| Fire safety | Yes | Head Teacher / Premises | FRA, drills, logbook, PEEPs, servicing |
| First aid and medical conditions | Yes | Head Teacher / delegated lead | Needs assessment, cover, records, medicines |
| Gas safety | Where applicable | Estates / Premises | Gas Safe servicing and records |
| Grounds, boundaries, trees and external areas | Yes | Premises | Recorded checks, surveys and actions |
| LEV | Where applicable | Department / Estates | Testing, maintenance and records |
| Lifts and lifting equipment | Where applicable | Estates | LOLER examinations and maintenance |
| Lone and peripatetic working | Where applicable | Line manager | Risk assessments and communication controls |
| PE, sports and playground equipment | Where applicable | PE lead / Premises | Routine and competent inspections |
| Pressure systems | Where applicable | Estates | WSE, examination and maintenance |
| Radon | Risk based | Estates | Assessment, measurement and review |
| Risk assessments, including young persons and pregnancy | Yes | Relevant managers | Register, review dates and consultation |
| Security, lockdown, invacuation and visitor controls | Yes | Head Teacher / SLT | Security RA, local procedures and exercises |
| Specialist curriculum areas, including Science and DT | Where applicable | Head of Department | Department policy, equipment inspections, CLEAPSS or competent guidance |
| Statutory inspections and compliance actions | Yes | Estates / Premises | Compliance register and escalation |
| Traffic, deliveries and vehicles on site | Yes | Head Teacher / Premises | Traffic management risk assessment |
| Water hygiene and Legionella | Yes | Estates / Premises | Risk assessment, monitoring and flushing |
| Work at height | Where applicable | Line manager / Premises | RA, training and equipment inspections |
| Work equipment and machinery | Where applicable | Relevant manager | PUWER controls, maintenance and training |
| Workplace environment and welfare | Yes | Head Teacher / Premises | Ventilation, lighting, temperature and welfare |
| Workplace violence and harassment | Yes | Head Teacher / HR | Reporting, support and review |
| Educational visits and adventurous activities | Where applicable | EVC / Head Teacher | Approvals, EVOLVE and visit risk assessment |
| Lettings and shared-site arrangements | Where applicable | Head Teacher / Operations | Hirer information, emergency and insurance controls |

Change Log

| Version | Date | Page | Change | Who: |
| --- | --- | --- | --- | --- |
| 1.0 | May 2024 | Whole document | Initial approved MET Health & Safety Policy. | Trust Estates Director |
| 2.0 | August 2026 | Whole document | Updated against the Leicestershire Traded Services MAT Health and Safety Policy Model Template, Issue 3 (2024). Added governance and reporting requirements, site-specific local arrangements, lettings, infection prevention, adverse weather, physical intervention, automatic gate and door controls, tree safety, and delegation/reference appendices. Legacy narrow-column sections were reformatted to improve readability. | Trust Estates Director |
| 2.1 | September 2026 | Whole document | Compliance completion review. Clarified governance and role titles; revised fire and PPE wording; added gas safety, LEV, lifting equipment, pressure systems, radon, playground/PE equipment, workplace welfare, security and emergency response; strengthened DSEAR and PUWER references; corrected third-party monitoring wording; added legal, linked-document and local-arrangements appendices. |  |